## Renewable Energy
DOI_AgencyID | DOI_DeptID | Column 1 Is this system connected to the utility grid? (Y/N) | DOI_Cogen | DOI_Install_month | Column 2 What year was the system installed or most recently upgraded? | Column 3 What kind of RE system is this? (PV, WIND, GSHP, SHW, SVPH, BIO, GREEN) | Column 4 How many systems are at the site? | Column 5 What is the system size or capacity? | Column 6 System units (PV-kw, Wind -MW, SWH-sqft, GSHP-tons, SVPH-sqft, BIO-btu/hr, GREEN-MWH/yr) | DOI_ System_cost | Column 7 Field Office | Column 8 State | Column 9 Zipcode | DOI_ System_country | Column 10 System Name | Column 11 BLM Point of Contact | Column 12 Is this system operational (Y/N) | MSRI | DOI_ SizexNumber | DOI_ Generation | Column 13 Notes | DOI MSRI PV | DOI MSRI SWH | DOI MSRI SPH | DOI MSRI SVPH
DOI | BLM | N |  |  | 1999 | PV | 1 | 4 | kW |  | Tok Field Office | AK |  | USA | Chicken Field Station | Kent Davis | Y |  | 4 | #VALUE! | facility power system for field station
DOI | BLM | N |  |  | 2002 | PV | 1 | 2.4 | Kw |  | Galena Dispatch | AK |  | USA | Totson Mt | Kent Gale | Y |  | 2.4 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | Y |  |  | 2006 | BIO | 1 | 0.048879 | KW |  | Anchorage Field Office | AK |  | USA | Campbell Creek | Carl Persson | Y |  | 0.048879 | #VALUE! | Wood Furnace at campbell creek Science Center | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2006 | PV | 1 | 2 | kW |  | Tok Field Office | AK |  | USA | Walker Fork Campground | Kent Davis | Y |  | 2 | #VALUE! | Water well freeze protection
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.8 | Kw |  | Alaska Fire Service | AK |  | USA | Porcupine Dome | Kent Gale | Y |  | 0.8 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.8 | Kw |  | Alaska Fire Service | AK |  | USA | Glacier Mt | Kent Gale | Y |  | 0.8 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.46 | Kw |  | Alaska Fire Service | AK |  | USA | Bitzshitini Mt | Kent Gale | Y |  | 0.46 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.46 | Kw |  | Alaska Fire Service | AK |  | USA | Tozi Mt | Kent Gale | Y |  | 0.46 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.46 | Kw |  | Alaska Fire Service | AK |  | USA | Lone Mt | Kent Gale | Y |  | 0.46 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.46 | Kw |  | Alaska Fire Service | AK |  | USA | Pope Creek Dome | Kent Gale | Y |  | 0.46 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.46 | Kw |  | Alaska Fire Service | AK |  | USA | Frozen Calf Mt | Kent Gale | Y |  | 0.46 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.46 | Kw |  | Galena Dispatch | AK |  | USA | Blackburn Mt | Kent Gale | Y |  | 0.46 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.46 | Kw |  | Galena Dispatch | AK |  | USA | Purcell Mt | Kent Gale | Y |  | 0.46 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.384 | kW |  | Northern Field Office | AK |  | USA | 7-mile admin facility | Kent Davis | Y |  | 0.384 | #VALUE! | facility power system for field station | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 1999 | PV | 1 | 0.384 | kW |  | Tok Field Office | AK |  | USA | Mosquito Fork CG | Kent Davis | Y |  | 0.384 | #VALUE! | facility power system for field station
DOI | BLM | N |  |  | 2003 | PV | 1 | 0.38 | kW |  | Anchorage Field Office | AK |  | USA | Airfield Strobe Light | Mark Paprocki | Y |  | 0.38 | #VALUE! | strobe warning light at end of air field
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.38 | kW |  | Arctic Field Office | AK |  | USA | Inagok Field Camp | Donna Wixon | Y |  | 0.38 | #VALUE! | Lights for Camp
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.3 | Kw |  | Galena Dispatch | AK |  | USA | Granite Mt | Kent Gale | Y |  | 0.3 | #VALUE! | Radio Site | 0 | 0 | 0 | 0
DOI | BLM | N |  |  | 1998 | PV | 1 | 5.06 | kW |  | Arizona Strip Field Office | AZ |  | USA | Nixon/Mt. Trumbull Field Station | Roger Taylor | Y |  | 5.06 | #VALUE! | facilty power system for fire bunkhouse
DOI | BLM | N |  |  | 1999 | PV | 1 | 2 | kW |  | Lake Havasau | AZ |  | USA | Partners Cove | Kirk Koch | Y |  | 2 | #VALUE! | Facility Power
DOI | BLM | N |  |  | 1997 | PV | 1 | 1.7 | kW |  | Sierra Vista Project Office | AZ |  | USA | San Pedro | JJ Swift | Y |  | 1.7 | #VALUE! | Campground Host
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.7 | kW |  | Sierra Vista Project Office | AZ |  | USA | San Pedro | JJ Swift | Y |  | 0.7 | #VALUE! | Water pumping at contact station
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.6 | kW |  | Lake Havasau | AZ |  | USA | Public Fishing Pier | Kirk Koch | Y |  | 0.6 | #VALUE! | Lighting along pier
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.6 | kW |  | Yuma | AZ |  | USA | Senator Wash Resevoir | Bill Alexander |  |  | 0.6 | #VALUE! | campground lighting
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.6 | kW |  | Yuma | AZ |  | USA | Yuma Recreation Lighting | Bill Alexander |  |  | 0.6 | #VALUE! | campground lighting
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.5 | KW |  | Lake Havasau | AZ |  | USA | Mesquite Bay Fishing Docks | Kirk Koch | Y |  | 0.5 | #VALUE! | Lighting along trail and at restrooms
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.5 | Kw |  | Phoenix | AZ |  | USA | Black Rock | John Patrou | Y |  | 0.5 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1998 | PV | 1 | 0.384 | kW |  | Kingman Field Office | AZ |  | USA | Burro Creek |  |  |  | 0.384 | #VALUE! | water pumping at campground
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.26 | Kw |  | Kingman | AZ |  | USA | Perkins Mt | John Patrou | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1992 | PV | 1 | 0.26 | Kw |  | Kingman | AZ |  | USA | Greenwood | John Patrou | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.26 | Kw |  | Phoenix | AZ |  | USA | Scrub Peak | John Patrou | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.26 | Kw |  | Phoenix | AZ |  | USA | Horsethief | John Patrou | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.15 | Kw |  | Kingman | AZ |  | USA | Patterson | John Patrou | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.15 | Kw |  | Phoenix | AZ |  | USA | Ajo Mt | John Patrou | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1997 | PV | 6 | 0.15 | kW |  | Sierra Vista Project Office | AZ |  | USA | San Pedro | JJ Swift | Y |  | 0.9 | #VALUE! | misc water pumping for animals
DOI | BLM | N |  |  | 2004 | PV | 1 | 3 | kW |  | Bakersfield | CA |  | USA | Washburn Ranch | Glen Yamashita | Y |  | 3 | #VALUE! | facility power for field station
DOI | BLM | N |  |  | 1999 | PV | 1 | 2.56 | kW |  | Bakersfield | CA |  | USA | Chimney Peak Fire Station | Glen Yamashita | Y |  | 2.56 | #VALUE! | facilty power system for fire bunkhouse
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.5 | Kw |  | Susanville | CA |  | USA | Onyx Pk | Dexter Dearth | Y |  | 0.5 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.5 | Kw |  | Susanville | CA |  | USA | Bear Pk | Dexter Dearth | Y |  | 0.5 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2003 | PV | 1 | 0.4 | Kw |  | Bakersfield | CA |  | USA | Cooskie Mt. | Dexter Dearth | Y |  | 0.4 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.384 | kW |  | Bakersfield | CA |  | USA | Case Mountain Research Ctr. | Glen Yamashita | Y |  | 0.384 | #VALUE! | Facility power
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.384 | kW |  | Surprise | CA |  | USA | Massacre Camp |  |  |  | 0.384 | #VALUE!
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.384 | kW |  | Surprise | CA |  | USA | Yellow Peak Lookout |  |  |  | 0.384 | #VALUE!
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.384 | kW |  | Susanville | CA |  | USA | Hobo Camp CG |  |  |  | 0.384 | #VALUE! | campground host
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.384 | kW |  | Susanville | CA |  | USA | Rocky Point CG |  |  |  | 0.384 | #VALUE! | campground host
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.26 | Kw |  | Bakersfield | CA |  | USA | Walker Ridge | Dexter Dearth | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.26 | Kw |  | Bakersfield | CA |  | USA | Lover's Leap | Dexter Dearth | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2001 | PV | 1 | 0.26 | Kw |  | Bakersfield | CA |  | USA | Oak Flat | Dexter Dearth | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1992 | PV | 1 | 0.26 | Kw |  | Bakersfield | CA |  | USA | Fox Mt | Dexter Dearth | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2003 | PV | 1 | 0.26 | Kw |  | Surprise | CA |  | USA | Potato Pk | Dexter Dearth | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.26 | Kw |  | Surprise | CA |  | USA | Green's Pk | Dexter Dearth | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.26 | Kw |  | Susanville | CA |  | USA | Old Woman Mt | Dexter Dearth | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.26 | Kw |  | Susanville | CA |  | USA | Yellow Pk | Dexter Dearth | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.15 | Kw |  | Bakersfield | CA |  | USA | Osborne Pk | Dexter Dearth | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.15 | Kw |  | Bakersfield | CA |  | USA | Caliente Mt | Dexter Dearth | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Surprise | CA |  | USA | Silver Pk | Dexter Dearth | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.15 | Kw |  | Surprise | CA |  | USA | Payne's Pk | Dexter Dearth | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1987 | PV | 2 | 7.92 | Kw |  | Colorado State Office | CO |  | USA | Jumbo | Bob Madsen | Y |  | 15.84 | #VALUE! | Radio Site LCO14
DOI | BLM | N |  |  | 1997 | PV | 1 | 1.536 | kW |  | Grand Junction | CO |  | USA | East Desert Well | Gordon Gardunio | Y |  | 1.536 | #VALUE! | Water pumping
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.534 | kW |  | Royal Gorge | CO |  | USA | Hecla Junction Rec. Area | Dave Nahomenuk | Y |  | 0.534 | #VALUE! | campground lighting
DOI | BLM | N |  |  | 1997 | PV | 3 | 0.504 | kW |  | Royal Gorge | CO |  | USA | Rincon Recreation Area CG | Dave Nahomenuk | Y |  | 1.512 | #VALUE! | campground lighting
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.44 | Kw |  | Colorado State Office | CO |  | USA | Rabbit Valley | Bob Madsen | Y |  | 0.44 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.44 | Kw |  | Colorado State Office | CO |  | USA | Douglas Pass | Bob Madsen | Y |  | 0.44 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.44 | Kw |  | Colorado State Office | CO |  | USA | Yarmony | Bob Madsen | Y |  | 0.44 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1999 | PV | 1 | 0.44 | Kw |  | Colorado State Office | CO |  | USA | Gateway | Bob Madsen | Y |  | 0.44 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1990 | PV | 1 | 0.44 | Kw |  | Colorado State Office | CO |  | USA | Hill 71 | Bob Madsen | Y |  | 0.44 | #VALUE! | Radio Site LCO11
DOI | BLM | N |  |  | 1990 | PV | 1 | 0.44 | Kw |  | Colorado State Office | CO |  | USA | Manti LaSalle | Bob Madsen | Y |  | 0.44 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1989 | PV | 1 | 0.44 | Kw |  | Colorado State Office | CO |  | USA | Independence | Bob Madsen | Y |  | 0.44 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.384 | kW |  | Grand Junction | CO |  | USA | Mud Spirngs CG | Gordon Gardunio | Y |  | 0.384 | #VALUE! | campground host
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.384 | kW |  | Montrose | CO |  | USA | Mill Creek CG | Grodon Gardunio | Y |  | 0.384 | #VALUE! | campground host
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.15 | kW |  | Royal Gorge | CO |  | USA | Ruby Mountain Rec. Area | Dave Nahomenuk | Y |  | 0.15 | #VALUE! | campground lighting
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.09 | kW |  | Royal Gorge | CO |  | USA | Railroad Bridge Rec. Area | Dave Nahomenuk | Y |  | 0.09 | #VALUE! | campground lighting
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.22 | kW |  | Royal Gorge | CO |  | USA | Five Points CG | Dave Nahomenuk | Y |  | 0.22 | #VALUE! | campground lighting
DOI | BLM | N |  |  | 2006 | PV | 1 | 3 | kW |  | Cour d'Alene Field Office | ID |  | USA | Campground | Will Perry | Y |  | 3 | #VALUE! | Site Lighting:Parking (1.66kW), Ramp (1.28kW), Vault Toilet (0.05kW)
DOI | BLM | N |  |  | 1998 | PV | 1 | 2.048 | kW |  | Owyhee | ID |  | USA | Mud Flat Field Station | Greg Schetzle | Y |  | 2.048 | #VALUE! | faciltiy power for field station
DOI | BLM | N |  |  | 2005 | PV | 1 | 1.5 | Kw |  | Bruneau | ID |  | USA | Bennett Mtn | Greg Schetzle | Y |  | 1.5 | #VALUE! | Radio Site, This site systems handles 2 Districts radio systems Boise & Twin Falls
DOI | BLM | N |  |  | 1990 | PV | 1 | 1 | kW |  | Boise Field Office | ID |  | USA | Highway 95 Well | Greg Schetzle | Y |  | 1 | #VALUE! | Power for well, water used for livestock.
DOI | BLM | N |  |  | 1999 | PV | 1 | 1 | Kw |  | Challis | ID |  | USA | Potaman Peak | Glen Riddle | Y |  | 1 | #VALUE! | Radio Site, FS site, their power system powers FS, BLM, Salmon Electric Coop
DOI | BLM | N |  |  | 2005 | PV | 1 | 1 | Kw |  | Owyhee | ID |  | USA | Cinnabar (Hayden Pk) | Greg Schetzle | Y |  | 1 | #VALUE! | Radio Site, This system is used by the BLM, Hams & Army Guard
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.7 | Kw |  | Owyhee | ID |  | USA | South Mtn (LookOut) | Greg Schetzle | Y |  | 0.7 | #VALUE! | Radio Site, This system is used for the LookOut's power and radio system.
DOI | BLM | N |  |  | 1999 | PV | 1 | 0.384 | kW |  | Salmon Field Office | ID |  | USA | Misc. CG | Steve Frazee | N |  | 0.384 | #VALUE! | campground host
DOI | BLM | N |  |  | 1999 | PV | 1 | 0.384 | kW |  | Salmon Field Office | ID |  | USA | Misc. CG | Steve Frazee | N |  | 0.384 | #VALUE! | campground host
DOI | BLM | Y |  |  | 2007 | GREEN | 1 | 1500 | MWH/yr |  | NIFC | ID |  | USA | NIFC complex |  | Y |  | 1500 | #VALUE! | Green power purchase
DOI | BLM | N |  |  | 2003 | PV | 1 | 0.5 | Kw |  | Bruneau | ID |  | USA | Bennett Mtn (LookOut) | Greg Schetzle | Y |  | 0.5 | #VALUE! | Radio Site, This system is used for the LookOut's power and radio system.
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.5 | kW |  | Idaho Falls | ID |  | USA | Red Hills Pumping System | Glen Guenther | Y |  | 0.5 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.44 | Kw |  | Upper Snake | ID |  | USA | Big Southern Butte | Glen Riddle | Y |  | 0.44 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1999 | PV | 1 | 0.384 | kW |  | Owyhee | ID |  | USA | South Mtn. | Greg Schetzle | Y |  | 0.384 | #VALUE! | communications power
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.25 | Kw |  | Burley Field Office | ID |  | USA | Magic Mtn | Trenna Butler | Y |  | 0.25 | #VALUE! | Radio Site, This system is used by BLM & FS
DOI | BLM | N |  |  | 1994 | PV | 1 | 0.25 | Kw |  | Cottonwood | ID |  | USA | Iron Mtn | Jerry Haaland | Y |  | 0.25 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.22 | Kw |  | Bruneau | ID |  | USA | Danskin Lookout | Greg Schetzle | Y |  | 0.22 | #VALUE! | Radio Site, System covers LookOut, Army National Guard, and Elmore County
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.22 | Kw |  | Burley | ID |  | USA | Twin Peaks | Trenna Butler | Y |  | 0.22 | #VALUE! | Radio Site, This system is used by BLM
DOI | BLM | N |  |  | 1995 | PV | 1 | 0.22 | Kw |  | Shoshone | ID |  | USA | Bell Mtn | Trenna Butler | Y |  | 0.22 | #VALUE! | Radio Site, This system is used by BLM & FS
DOI | BLM | N |  |  | 2003 | PV | 1 | 0.22 | Kw |  | Shoshone Field Office | ID |  | USA | Davis Mtn | Trenna Butler | Y |  | 0.22 | #VALUE! | Radio Site, This system is used by BLM, but co-located with State of Idaho
DOI | BLM | N |  |  | 2003 | PV | 1 | 0.2 | kW |  | Coeur d'Alene Field Office | ID |  | USA | Misc Fuels Projects | Brad Wagner | Y |  | 0.2 | #VALUE! | Fuels Program ROSS Portable Weather Station
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.15 | kW |  | Coeur d'Alene Field Office | ID |  | USA | Misc C.G. | Will Perry | Y |  | 0.15 | #VALUE! | CXT Toilet Lights (3 each - 0.05 kW)
DOI | BLM | N |  |  | 2004 | PV | 2 | 3 | Kw |  | Four River | ID |  | USA | Lucky Peak (Shaw Mtn) | Greg Schetzle | Y |  | 6 | #VALUE! | Radio Site, This system is used by the BLM, FS, State of Idaho
DOI | BLM | N |  |  | 2005 | PV | 1 | 1.5 | Kw |  | Owyhee | ID |  | USA | South Mtn | Greg Schetzle | Y |  | 1.5 | #VALUE! | Radio Site, This site systems handles 2 Districts radio systems Boise & Vale
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.22 | Kw |  | Four River | ID |  | USA | Lookout Mtn | Greg Schetzle | Y |  | 0.22 | #VALUE! | Radio Site, This site has 2 separate Districts systems Vale & Boise - this shows only Boise
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.22 | Kw |  | Owyhee | ID |  | USA | Juniper Mtn | Greg Schetzle | Y |  | 0.22 | #VALUE! | Radio Site, System covers BLM and Owyhee County Sheriff
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.75 | Kw |  | Billings | MT |  | USA | Wild Horse | Pat Scott | Y |  | 0.75 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | GSHP | 1 | 19 | Kw |  | Billings | MT |  | USA | Pompeys Pillar Interpretive Center | Rollie Welty | Y |  | 19 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.375 | Kw |  | Dillon | MT |  | USA | Baldy | Pat Scott | Y |  | 0.375 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.225 | Kw |  | Miles City | MT |  | USA | Poker Jim | Pat Scott | Y |  | 0.225 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.075 | Kw |  | Billings | MT |  | USA | Pryors | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.075 | Kw |  | Dillon | MT |  | USA | Bear Trap | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.075 | Kw |  | Glasgow | MT |  | USA | Opheim | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.075 | Kw |  | Lewistown | MT |  | USA | Eagle Butte | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.075 | Kw |  | Lewistown | MT |  | USA | Middleton | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.075 | Kw |  | Lewistown | MT |  | USA | Stafford | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.075 | Kw |  | Miles City | MT |  | USA | Diamond Butte | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.075 | Kw |  | Missoula | MT |  | USA | Elevation | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.075 | Kw |  | Missoula | MT |  | USA | Ram | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.075 | Kw |  | Missoula | MT |  | USA | Garnet Ghost Town | Pat Scott | Y |  | 0.075 | #VALUE! | Radio Site
DOI | BLM | Y |  |  | 1998 | PV | 1 | 2 | kW |  | Socorro Field Office | NM |  | USA | Fort Craig | John Hertz | Y |  | 2 | #VALUE! | Grid connected
DOI | BLM | N |  |  | 2007 | PV | 1 | 1.5 | Kw |  | Las Cruses District Office | NM |  | USA | Big Hatchet | Scott Harness | Y |  | 1.5 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 1.5 | Kw |  | Las Cruses District Office | NM |  | USA | Gillespie | Scott Harness | Y |  | 1.5 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 1 | Kw |  | Riudoso Disrict Office | NM |  | USA | Capitan | Scott Harness | Y |  | 1 | #VALUE! | Radio Site
DOI | BLM |  |  |  | 1996 | PV | 1 | 0.231 | kW |  | Albuqureque Field Office | NM |  | USA | Misc. CG | Steve Jordan |  |  | 0.231 | #VALUE! | campground host
DOI | BLM |  |  |  | 1996 | PV | 1 | 0.231 | kW |  | Albuqureque Field Office | NM |  | USA | Misc. CG | Steve Jordan |  |  | 0.231 | #VALUE! | campground host
DOI | BLM |  |  |  | 1996 | PV | 1 | 0.231 | kW |  | Albuqureque Field Office | NM |  | USA | Misc. CG | Steve Jordan |  |  | 0.231 | #VALUE! | campground host
DOI | BLM |  |  |  | 1996 | PV | 1 | 0.231 | kW |  | Albuqureque Field Office | NM |  | USA | Misc. CG | Steve Jordan |  |  | 0.231 | #VALUE! | campground host
DOI | BLM |  |  |  | 1996 | PV | 1 | 0.231 | kW |  | Albuqureque Field Office | NM |  | USA | Misc. CG | Steve Jordan |  |  | 0.231 | #VALUE! | campground host
DOI | BLM |  |  |  | 1996 | PV | 1 | 0.231 | kW |  | Albuqureque Field Office | NM |  | USA | Misc. CG | Steve Jordan |  |  | 0.231 | #VALUE! | campground host
DOI | BLM |  |  |  | 1996 | PV | 1 | 0.231 | kW |  | Albuqureque Field Office | NM |  | USA | Orilla Verda CG | Steve Jordan |  |  | 0.231 | #VALUE! | campground host
DOI | BLM | N |  |  | 2004 | PV | 1 | 2 | Kw |  | Las Vegas | NV |  | USA | Hayford | Tony Colon | Y |  | 2 | #VALUE! | Radio Site, Solar pannels owned by DOE
DOI | BLM | N |  |  | 2000 | PV | 1 | 1.2 | Kw |  | Las Vegas | NV |  | USA | 13 Mile Campground | Crystal Olsen | Y |  | 1.2 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.9 | Kw |  | Las Vegas | NV |  | USA | Red Rocks | Crystal Olsen | Y |  | 0.9 | #VALUE! | overlook lights
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.39 | Kw |  | Carson City District | NV |  | USA | Corey Peak | Tony Colon | Y |  | 0.39 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2000 | WIND | 1 | 0.6 | Kw |  | Las Vegas | NV |  | USA | Red Rocks | Crystal Olsen | Y |  | 0.6 | #VALUE! | campground host
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.26 | Kw |  | Ely District | NV |  | USA | Irish | Tony Colon | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.26 | Kw |  | Winnemucca District | NV |  | USA | Gerlach | Tony Colon | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.25 | Kw |  | Las Vegas | NV |  | USA | Red Rocks | Crystal Olsen | Y |  | 0.25 | #VALUE! | vault toilets
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Battle Mtn District | NV |  | USA | Bald Mtn | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Battle Mtn District | NV |  | USA | Mohawk | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Battle Mtn District | NV |  | USA | Mt Calaghan | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Battle Mtn District | NV |  | USA | Prospect | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Battle Mtn District | NV |  | USA | Saw Tooth | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Battle Mtn District | NV |  | USA | Warm Springs | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Carson City District | NV |  | USA | Ft. Sage Mtn | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Elko District | NV |  | USA | Delano Pk | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Elko District | NV |  | USA | Jacks Pk | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Elko District | NV |  | USA | Knoll Mtn | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Elko District | NV |  | USA | Midas | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Elko District | NV |  | USA | Mt Tenabo | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Elko District | NV |  | USA | Spruce Mtn | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.15 | Kw |  | Ely District | NV |  | USA | Ward | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Ely District | NV |  | USA | Blad Mtn | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Ely District | NV |  | USA | Kerns | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Ely District | NV |  | USA | Wilson | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1995 | PV | 1 | 0.15 | Kw |  | Las Vegas | NV |  | USA | Virgin | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.15 | Kw |  | Las Vegas | NV |  | USA | Red Rocks | Crystal Olsen | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.15 | Kw |  | Winnemucca District | NV |  | USA | Alta | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.15 | Kw |  | Winnemucca District | NV |  | USA | New York Pk | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.15 | Kw |  | Winnemucca District | NV |  | USA | Star Pk | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.15 | Kw |  | Winnemucca District | NV |  | USA | Goosey | Tony Colon | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.1 | Kw |  | Las Vegas | NV |  | USA | Red Rocks | Crystal Olsen | Y |  | 0.1 | #VALUE! | emergency phones
DOI | BLM | Y |  |  | 2002 | PV | 1 | 5.5 | kW |  | Vale Field Office | OR |  | USA | Vale Fire Building | Vern Pritchard | Y |  | 5.5 | #VALUE! | grid connected at fire operations building
DOI | BLM | N |  |  | 1999 | PV | 1 | 5 | Kw |  | Salem | OR |  | USA | YellowBottom CG | Josh Weathers | Y |  | 5 | #VALUE! | Radio Site, water system, camp host
DOI | BLM | N |  |  | 2007 | PV | 1 | 2.1 | Kw |  | Burns District Office | OR |  | USA | Upton Well | John Bethea | Y |  | 2.1 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1996 | PV | 1 | 1.326 | kW |  | Medford Field Office | OR |  | USA | Rogue River Ranch |  | Y |  | 1.326 | #VALUE! | facility power at field station
DOI | BLM | N |  |  | 2000 | PV | 1 | 1.3 | Kw |  | Coos Bay | OR |  | USA | Sixes River Rec Site | Bob Barnes | Y |  | 1.3 | #VALUE! | Radio Site
DOI | BLM |  |  |  | 2000 | PV | 1 | 1.3 | kW |  | Coos Bay | OR |  | USA | Sixes River Rec Site |  |  |  | 1.3 | #VALUE!
DOI | BLM | N |  |  | 2000 | PV | 1 | 1.232 | kW |  | Salem | OR |  | USA | Cedar Creek | John Chaffin | Y |  | 1.232 | #VALUE! | Shop Power
DOI | BLM | N |  |  | 2007 | PV | 1 | 1 | kW |  | Burns District Office | OR |  | USA | Upton Well | John Bethea | Y |  | 1 | #VALUE! | Water Pumping
DOI | BLM | N |  |  | 2001 | PV | 1 | 0.9 | KW |  | Eugene District Office | OR |  | USA | Clay Creek Recreation Site | Dennis Smith | Y |  | 0.9 | #VALUE! | Water pumping and disinfecting (UV)
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.76 | Kw |  | Vale Field Office | OR |  | USA | Owyhee Ridge Repeater | Scott Hamilton | Y |  | 0.76 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.76 | Kw |  | Vale Field Office | OR |  | USA | Monument Peak Repeater | Scott Hamilton | Y |  | 0.76 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2001 | PV | 1 | 0.72 | Kw |  | Prineville District Office | OR |  | USA | Aldrich Mountain Repeater | David Santiago | Y |  | 0.72 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.64 | Kw |  | Burns District Office | OR |  | USA | Riddle Brothers Ranch | John Bethea | Y |  | 0.64 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.6 | Kw |  | Burns District Office | OR |  | USA | King Mtn. | Al Foulke | Y |  | 0.6 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.384 | kW |  | Burns District Office | OR |  | USA | South Steens CG | John Bethea | Y |  | 0.384 | #VALUE!
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.38 | Kw |  | Burns District Office | OR |  | USA | South Steens CG | John Bethea | Y |  | 0.38 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.38 | Kw |  | Coos Bay | OR |  | USA | Bosley Butte Comm. Site | Todd Gannett | Y |  | 0.38 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.38 | Kw |  | Coos Bay | OR |  | USA | Edson Comm. Site | Todd Gannett | Y |  | 0.38 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1998 | PV | 1 | 0.38 | Kw |  | Roseburg | OR |  | USA | Yellow Butte Comm Site | Roger Lustri | Y |  | 0.38 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.35 | kW |  | Burns District Office | OR |  | USA | South Steens CG | John Bethea | Y |  | 0.35 | #VALUE! | water pumping
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.35 | Kw |  | Burns District Office | OR |  | USA | South Steens CG | John Bethea | Y |  | 0.35 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1995 | PV | 1 | 0.34 | Kw |  | Vale Field Office | OR |  | USA | Mahogany MT. Repeater | Scott Hamilton | Y |  | 0.34 | #VALUE! | Radio Site
DOI | BLM | Y |  |  | 2001 | SWH | 1 | 193.72 | sqft |  | Vale Field Office | OR |  | USA | Vale Fire Building | Vern Pritchard | Y |  | 193.72 | #VALUE! | solar hot water for showers/domestic use
DOI | BLM | N |  |  | 2003 | PV | 1 | 0.26 | Kw |  | Lakeview | OR |  | USA | Green Mt Repeater | Alan Albertson | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1999 | PV | 1 | 0.26 | Kw |  | Lakeview | OR |  | USA | Yainax Butte Repeater | Alan Albertson | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1998 | PV | 1 | 0.26 | Kw |  | Lakeview | OR |  | USA | Hart Mt Repeater | Alan Albertson | Y |  | 0.26 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.12 | Kw |  | Medford | OR |  | USA | Tallowbox | Jan Dahl | N |  | 0.12 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1996 | PV | 1 | 1.33 | Kw |  | Medford | OR |  | USA | Rogue River Ranch | Miriam Liberatore | N |  | 1.33 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.25 | Kw |  | Burns District Office | OR |  | USA | Wild Horse Rim | Al Foulke | Y |  | 0.25 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.23 | Kw |  | Vale Field Office | OR |  | USA | Cottonwood Radio Site | Scott Hamilton | Y |  | 0.23 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.23 | Kw |  | Vale Field Office | OR |  | USA | Birch Creek Ranch Radio | Scott Hamilton | Y |  | 0.23 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.22 | Kw |  | Salem | OR |  | USA | Yellowstone Mt. | Joe Raible | Y |  | 0.22 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.21 | Kw |  | Medford | OR |  | USA | Cedar Springs | Jan Dahl | Y |  | 0.21 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.21 | Kw |  | Medford | OR |  | USA | Ninemile | Jan Dahl | Y |  | 0.21 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1991 | PV | 1 | 0.21 | KW |  | Vale Field Office | OR |  | USA | Omni Well | Vern Pritchard | Y |  | 0.21 | #VALUE! | water pump for wild horses
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.2 | Kw |  | Burns District Office | OR |  | USA | Wagontire Mtn. | Al Foulke | Y |  | 0.2 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1999 | PV | 1 | 0.2 | KW |  | Spokane | OR |  | USA | BulgarianLake | Kerrin Doloughan | Y |  | 0.2 | #VALUE! | Drip system for tree planting
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.2 | KW |  | Spokane | OR |  | USA | Rockyford | Kerrin Doloughan | Y |  | 0.2 | #VALUE! | Stock Water
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.2 | KW |  | Spokane | OR |  | USA | Telford Solar 2 | Kerrin Doloughan | Y |  | 0.2 | #VALUE! | Stock Water
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.2 | KW |  | Spokane | OR |  | USA | Telford Solar 1 | Kerrin Doloughan | Y |  | 0.2 | #VALUE! | Stock Water
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.2 | KW |  | Spokane | OR |  | USA | Lonepine West | Kerrin Doloughan | Y |  | 0.2 | #VALUE! | Stock Water
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.16 | Kw |  | Medford | OR |  | USA | Onion | Jan Dahl | Y |  | 0.16 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.15 | Kw |  | Salem | OR |  | USA | Alsea Falls CG | John Chaffin | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.15 | Kw |  | Vale Field Office | OR |  | USA | Lookout Mt. Repeater | Scott Hamilton | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.13 | Kw |  | Salem | OR |  | USA | Alsea Falls CG | John Chaffin | Y |  | 0.13 | #VALUE! | restroom lighting
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.128 | kW |  | Salem | OR |  | USA | Alder Glen | John Chaffin | Y |  | 0.128 | #VALUE! | Water Pumping
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.128 | kW |  | Salem | OR |  | USA | Dovre | John Chaffin | Y |  | 0.128 | #VALUE! | Water Pumping
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.128 | kW |  | Salem | OR |  | USA | Elk Bend | John Chaffin | Y |  | 0.128 | #VALUE! | Water Pumping
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.128 | kW |  | Salem | OR |  | USA | Fan Creek | John Chaffin | Y |  | 0.128 | #VALUE! | Water Pumping
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.11 | Kw |  | Medford | OR |  | USA | Table | Jan Dahl | Y |  | 0.11 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1987 | PV | 1 | 0.06 | Kw |  | Eugene District Office | OR |  | USA | Huckleberry | Sam Cuevas | Y |  | 0.06 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.64 | kW |  | Burns District Office | OR |  | USA | Riddle Brothers Ranch | John Bethea | Y |  | 0.64 | #VALUE! | facility power at field station
DOI | BLM | Y |  |  | 2004 | PV | 1 | 7.5 | kW |  | GSENM | UT |  | USA | Escalante Science Center | Gene Quilter | Y |  | 7.5 | #VALUE! | grid connected at visitor center
DOI | BLM | N |  |  | 2005 | PV | 1 | 6.42 | kW |  | Monticello Field Office | UT |  | USA | Kane Gulch Ranger Station | Mike Hardy | Y |  | 6.42 | #VALUE! | facility power for ranger station and well pump
DOI | BLM | N |  |  | 2007 | PV | 1 | 3.76 | kW |  | Price Field Office | UT |  | USA | Cleveland Lloyd Dinosaur Quarry | Wayne Ludington | Y |  | 3.76 | #VALUE! | facility power for visitor center
DOI | BLM | N |  |  | 2001 | PV | 1 | 3 | kW |  | Monticello Field Office | UT |  | USA | Sand Island Ranger Station | Mike Hardy | Y |  | 3 | #VALUE! | facility power for contact station
DOI | BLM | Y |  |  | 2003 | PV | 1 | 2.8 | kW |  | GSENM | UT |  | USA | Big Water Visitor Center | Gene Quilter | Y |  | 2.8 | #VALUE! | grid connected at visitor center
DOI | BLM | Y |  |  | 2002 | PV | 1 | 2.8 | kW |  | GSENM | UT |  | USA | Cannonville Visitor Center | Gene Quilter | Y |  | 2.8 | #VALUE! | grid connected at visitor center
DOI | BLM | N |  |  | 2006 | PV | 1 | 2.2 | kW |  | Fillmore Field Office | UT |  | USA | Painted Rocks Well (campground) | Chad Kunz | Y |  | 2.2 | #VALUE! | water pumping campground
DOI | BLM | N |  |  | 1997 | PV | 1 | 1.7 | kW |  | Fillmore Field Office | UT |  | USA | 12-A | Tom Memmot | Y |  | 1.7 | #VALUE! | water pumping livestock
DOI | BLM | N |  |  | 2005 | PV | 1 | 1.5 | Kw |  | Richfield Field Office | UT |  | USA | Goslin Mtn | Steve Strait | Y |  | 1.5 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2004 | PV | 1 | 1.32 | kW |  | Price Field Office | UT |  | USA | Sand Wash Ranger Station | Dennis Willis | Y |  | 1.32 | #VALUE! | faciltiy power for field station
DOI | BLM | N |  |  | 1997 | PV | 1 | 1.152 | kW |  | Fillmore Field Office | UT |  | USA | Headquarters Well | Tom Memmot | Y |  | 1.152 | #VALUE! | water pumping livestock
DOI | BLM | N |  |  | 2006 | PV | 1 | 1.15 | kw |  | Richfield Field Office | UT |  | USA | Granite Well | Leroy Smallie | Y |  | 1.15 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1997 | PV | 1 | 1.024 | kW |  | Fillmore Field Office | UT |  | USA | Sheep Hollow | Tom Memmot | Y |  | 1.024 | #VALUE! | water pumping livestock
DOI | BLM | N |  |  | 2000 | PV | 1 | 1.024 | kW |  | Monticello Field Office | UT |  | USA | Sand Island Campground | Mike Hardy | Y |  | 1.024 | #VALUE! | water pumping for ranger station and campground
DOI | BLM | N |  |  | 1998 | PV | 1 | 1.024 | kW |  | Vernal Field Office | UT |  | USA | Parriette Wetlands Field Station | Tim Sweeney | Y |  | 1.024 | #VALUE! | facility power for ranger station
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.9 | kW |  | Cedar City Field Office | UT |  | USA | Red Cliffs CG | Eric Mullins | Y |  | 0.9 | #VALUE! | campground host
DOI | BLM | N |  |  | 2001 | PV | 1 | 0.72 | kw |  | Richfield Field Office | UT |  | USA | Cedar Point Well | Dave Barfuss | Y |  | 0.72 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2004 | PV | 2 | 0.6 | Kw |  | Richfield Field Office | UT |  | USA | Bumble Bee | Steve Strait | Y |  | 1.2 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.45 | Kw |  | Richfield Field Office | UT |  | USA | Windy Peak | Steve Strait | Y |  | 0.45 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2002 | PV | 1 | 0.4 | Kw |  | Richfield Field Office | UT |  | USA | Bruin Peak | Steve Strait | Y |  | 0.4 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1998 | PV | 1 | 0.384 | kW |  | Cedar City Field Office | UT |  | USA | Holtz Creek | James Davis | Y |  | 0.384 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.384 | kW |  | Cedar City Field Office | UT |  | USA | Ponderosa Grove CG | Eric Mullins | Y |  | 0.384 | #VALUE!
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.384 | kW |  | Cedar City Field Office | UT |  | USA | Baker Dam CG | Eric Mullins | Y |  | 0.384 | #VALUE! | campground host
DOI | BLM | N |  |  | 2000 | PV | 1 | 0.384 | kW |  | Cedar City Field Office | UT |  | USA | Exploration Well | James Davis | Y |  | 0.384 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.384 | kW |  | Fillmore Field Office | UT |  | USA | Delta #1 | Tom Memmot | Y |  | 0.384 | #VALUE! | water pumping livestock
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.384 | kW |  | Fillmore Field Office | UT |  | USA | IPA | Tom Memmot | Y |  | 0.384 | #VALUE! | water pumping livestock
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.384 | kW |  | Moab Field Office | UT |  | USA | Big Bend CG | Bruce Louthan | Y |  | 0.384 | #VALUE! | campground host
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.384 | kW |  | Moab Field Office | UT |  | USA | Goose Island CG | Bruce Louthan | Y |  | 0.384 | #VALUE! | campground host
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.384 | kW |  | Moab Field Office | UT |  | USA | Kent's Lake CG | Bruce Louthan | Y |  | 0.384 | #VALUE! | campground host
DOI | BLM | N |  |  | 1998 | PV | 1 | 0.384 | kW |  | Salt Lake Field Office | UT |  | USA | Salt Wells Well | Riley Draper | Y |  | 0.384 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2004 | PV | 1 | 0.35 | kw |  | Richfield Field Office | UT |  | USA | Hog Springs | Dave Barfuss | Y |  | 0.35 | #VALUE! | lighting at campground
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.345 | kw |  | Richfield Field Office | UT |  | USA | Star Springs Camp Ground | Dave Barfuss | Y |  | 0.345 | #VALUE! | culinary water well
DOI | BLM | N |  |  | 1995 | PV | 1 | 0.33 | kW |  | Vernal Field Office | UT |  | USA | South Camp Field Station | Tim Sweeney | Y |  | 0.33 | #VALUE! | faciltiy power for field station
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.256 | kW |  | Fillmore Field Office | UT |  | USA | Sugarloaf | Tom Memmot | Y |  | 0.256 | #VALUE! | water pumping livestock
DOI | BLM | Y |  |  | 1978 | SVPH | 1 | 240 | sqft |  | Fillmore Field Office | UT |  | USA | Little Sahara Visitor Center | Chad Kunz | Y |  | 240 | #VALUE! | pre-heat ventilation air for visitor center
DOI | BLM | N |  |  | 2006 | PV | 10 | 0.12 | kW |  | Fillmore Field Office | UT |  | USA | Painted Rocks Campground lighting | Chad Kunz | N |  | 1.2 | #VALUE! | lighting at campground
DOI | BLM | Y |  |  | 1999 | GSHP | 1 | 5 | tons |  | Fillmore Field Office | UT |  | USA | Fillmore Fire Bunkhouse | Chad Kunz | Y |  | 5 | #VALUE! | gshp heating/cooling of bldg. & domestic Hot water.
DOI | BLM | Y |  |  | 1998 | GSHP | 1 | 5 | tons |  | Fillmore Field Office | UT |  | USA | Little Sahara Fire Bunkhouse | Chad Kunz | Y |  | 5 | #VALUE! | gshp heating/cooling of bldg. & domestic Hot water.
DOI | BLM | Y |  |  | 2005 | GREEN | 1 | 0.24 | MWH/yr |  | Moab Field Office | UT |  | USA | Moab Field Office | Bruce Louthan | Y |  | 240 | #VALUE! | Green Power Purchase for MFO
DOI | BLM | N |  |  | 1998 | PV | 1 | 0.15 | kW |  | Fillmore Field Office | UT |  | USA | Sand Mountain Restroom | Ferris Clegg | Y |  | 0.15 | #VALUE! | restroom lighting
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.15 | Kw |  | Richfield Field Office | UT |  | USA | Copper Ridge | Steve Strait | Y |  | 0.15 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.15 | kW |  | Vernal Field Office | UT |  | USA | South Camp Field Station | Tim Sweeney | Y |  | 0.15 | #VALUE! | water pumping for field station
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.12 | Kw |  | Richfield Field Office | UT |  | USA | Red Spur | Steve Strait | Y |  | 0.12 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2008 | PV | 1 | 0.8 | kW |  | Monticello Field Office | UT |  | USA | Sweet Alice Cabin | Mike Hardy | Y |  | 0.8 | #VALUE! | facility power for field station
DOI | BLM | N |  |  | 2006 | PV | 1 | 2.28 | kW |  | Spokane | WA |  | USA | Turnpoint light house | Gene Wehmeyer | Y |  | 2.28 | #VALUE! | faciltiy power at field station, Radio Site
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.256 | Kw |  | Spokane | WA |  | USA | Washburn Lake | Gene Wehmeyer | Y |  | 0.256 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 2007 | PV | 1 | 0.2 | KW |  | Spokane | WA |  | USA | Duffy Creek | Dana Peterson | Y |  | 0.2 | #VALUE! | live stock water pumping in use for grazing season
DOI | BLM | N |  |  | 1996 | PV | 1 | 0.256 | kW |  | Spokane | WA |  | USA | Washburn Lake | Gene Wehmeyer | N |  | 0.256 | #VALUE! | livestock wate pumping
DOI | BLM | Y |  |  | 2007 | GREEN | 1 | 1.03 | MWH/yr |  | Spokane | WA |  | USA | Wenatchee Field Office | Wade Christy | n |  | 1.03 | #VALUE! | facility power from hydro grid
DOI | BLM | Y |  |  | 2007 | GREEN | 1 | 0.62 | MWH/yr |  | Spokane | WA |  | USA | Lopez Office | Wade Christy | n |  | 0.62 | #VALUE! | facility power from hydro grid
DOI | BLM | Y |  |  |  | GREEN | 1 |  | MWH/yr |  | Spokane | WA |  | USA | Spokane District Office | John Boyle | n |  | 0 | #VALUE! | facility power from hydro grid
DOI | BLM | Y |  |  |  | GREEN | 1 |  | MWH/yr |  | Spokane | WA |  | USA | Coffeepot Lake | John Boyle | n |  | 0 | #VALUE! | facility power from hydro grid
DOI | BLM | Y |  |  |  | GREEN | 1 |  | MWH/yr |  | Spokane | WA |  | USA | Lakeview Ranch | John Boyle | n |  | 0 | #VALUE! | facility power from hydro grid
DOI | BLM | Y |  |  |  | GREEN | 1 |  | MWH/yr |  | Spokane | WA |  | USA | Miller Ranch | John Boyle | n |  | 0 | #VALUE! | facility power from hydro grid
DOI | BLM | Y |  |  |  | GREEN | 1 |  | MWH/yr |  | Spokane | WA |  | USA | Escure Ranch | John Boyle | n |  | 0 | #VALUE! | facility power from hydro grid
DOI | BLM | N |  |  | 1999 | PV | 1 | 6 | kW |  | Casper | WY |  | USA | Chalk Hills | Mike Brogan | Y |  | 6 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1998 | PV | 1 | 2 | Kw |  | Rawlins | WY |  | USA | Flattop Comm. Site | Mark Joiner | Y |  | 2 | #VALUE! | Radio Site
DOI | BLM | N |  |  | 1997 | PV | 1 | 1.92 | kW |  | Casper | WY |  | USA | Lone Tree | Mike Brogan | Y |  | 1.92 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1997 | PV | 1 | 1.92 | kW |  | Casper | WY |  | USA | Rattlesnake #2 | Mike Brogan | Y |  | 1.92 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2005 | PV | 1 | 1.92 | kW |  | Casper | WY |  | USA | Poison Creek Springs Well | Mike Brogan | Y |  | 1.92 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1997 | PV | 1 | 1.536 | kW |  | Casper | WY |  | USA | Wilderness Well | Mike Brogan | Y |  | 1.536 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1997 | PV | 1 | 1.328 | kW |  | Casper | WY |  | USA | Rattlesnake #3 | Mike Brogan | Y |  | 1.328 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1998 | PV | 1 | 1.02 | kW |  | Casper | WY |  | USA | Rattlesnake #4 Well | Mike Brogan | Y |  | 1.02 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2000 | PV | 1 | 1 | kW |  | Newcastle | WY |  | USA | Hamilton Well | Mike Brogan | Y |  | 1 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.9 | kW |  | Casper | WY |  | USA | Iron Creek Well | Mike Brogan | Y |  | 0.9 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.83 | kW |  | Casper | WY |  | USA | Rattlesnake #1 | Mike Brogan | Y |  | 0.83 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2001 | PV | 1 | 0.83 | kW |  | Casper | WY |  | USA | Goldeneye Well | Mike Brogan | Y |  | 0.83 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.8 | kW |  | Casper | WY |  | USA | Coyote Well | Mike Brogan | Y |  | 0.8 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.72 | kW |  | Casper | WY |  | USA | Badlands Well | Mike Brogan | Y |  | 0.72 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.7 | kw |  | Worland | WY |  | USA | Upper Nowater Stockwater Pipeline | Brendan Cain | Y |  | 0.7 | #VALUE! | System is coop project - BLM & grazing permittee;
DOI | BLM | N |  |  | 1997 | PV | 1 | 0.616 | kW |  | Rawlins | WY |  | USA | Chicken Springs | Andy Warren | Y |  | 0.616 | #VALUE! | water pumping for livestock and wildlife
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.54 | kW |  | Casper | WY |  | USA | Meadow Creek Well | Mike Brogan | Y |  | 0.54 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2003 | PV | 1 | 0.54 | kW |  | Newcastle | WY |  | USA | Snyder Creek Well | Mike Brogan | Y |  | 0.54 | #VALUE! | water pumping for livestock , PV/WIND combined system
DOI | BLM | N |  |  | 1999 | PV | 1 | 0.48 | kW |  | Casper | WY |  | USA | Rattlesnake #5 Well | Mike Brogan | Y |  | 0.48 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1998 | PV | 1 | 0.38 | kW |  | Buffalo | WY |  | USA | Ed O. Taylor Well | Mike Brogan | Y |  | 0.38 | #VALUE! | water pumping for wildlife
DOI | BLM | N |  |  | 2005 | PV | 1 | 0.36 | kW |  | Casper | WY |  | USA | 3-Mile Well | Mike Brogan | Y |  | 0.36 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.32 | kW |  | Casper | WY |  | USA | Cooney Hills #1 Well | Mike Brogan | Y |  | 0.32 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1999 | PV | 1 | 0.22 | kW |  | Newcastle | WY |  | USA | Lance Creek Spring | Mike Brogan | Y |  | 0.22 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2006 | PV | 1 | 0.18 | kW |  | Buffalo | WY |  | USA | Bud Love Well | Mike Brogan | Y |  | 0.18 | #VALUE! | water pumping for wildlife
DOI | BLM | Y |  |  | 2005 | WIND | 1 | 20 | kW |  | Rawlins | WY |  | USA | Rawlins Field Office |  | Y |  | 20 | #VALUE! | Wind Turbine at field office, grid connected
DOI | BLM | N |  |  | 2007 | PV | 1 | 3.6 | kW |  | Buffalo | WY |  | USA | Welch Well | Mike Brogan | N |  | 3.6 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 2007 | PV | 1 | 1.76 | kW |  | Casper | WY |  | USA | Coyote #3 Well | Mike Brogan | N |  | 1.76 | #VALUE! | water pumping for livestock
DOI | BLM | N |  |  | 1995 | PV | 1 | 0.02 | Kw |  | Cody | WY |  | USA | Rattlesnake | Chuck Russell | Y |  | 0.02 | #VALUE! | remote automated weather stations (20W ea)
DOI | BLM | N |  |  | 1995 | PV | 1 | 0.02 | Kw |  | Worland | WY |  | USA | Hyatt | Chuck Russell | Y |  | 0.02 | #VALUE! | remote automated weather stations (20W ea)
DOI | BLM | N |  |  | 1995 | PV | 1 | 0.02 | Kw |  | Worland | WY |  | USA | Split Rock | Chuck Russell | Y |  | 0.02 | #VALUE! | remote automated weather stations (20W ea)
DOI | BLM | N |  |  | 1995 | PV | 1 | 0.02 | Kw |  | Worland | WY |  | USA | Grass Creek | Chuck Russell | Y |  | 0.02 | #VALUE! | remote automated weather stations (20W ea)
DOI | BLM |  |  |  | 1995 | PV | 337 | 0.02 | kW |  | various |  |  | USA | RAWs systems |  |  |  | 6.74 | #VALUE! | remote automated weather stations (20W ea)